## Residential
Appliance | Critical (1=yes, 0=no) | Average # Owned | Power (kW) | Power * Average # owned (kW) | Appliance Voltage | Average Daily Duration | Total Possible Daily Usage (kWh) | Probability of Ownership | Enabling Criteria |  |  | Potential Temp Range (Threshold) |  | Potential Time Range | Appliance Variability | Day-to-Day Variability | Building Amplification
Light 1 | 1 | 1 | 0.002 | 0.002 | 12 | 5 | 0.01 | 1 | Solar output less than | 0.05 |  |  |  | 5p-12a | 0 | 0 | 0
Light 2 | 1 | 0 | 0.005 | 0 | 12 | 4 | 0 | 1 | Solar output less than | 0.05 |  |  |  | 5p=12a | 0 | 0 | 0
Light 3 | 1 | 0 | 0.007 | 0 | 12 | 4 | 0 | 1 | Solar output less than | 0.05 |  |  |  | 12a-7a | 0 | 0 | 0
Fan | 0 | 1 | 0.012 | 0.012 | 12 | 4 | 0.048 | 1 | Temp higher than | 31 |  | Temperature greater than 29.5 | 29.5 |  | 0 | 0 | 0
TV-night | 0 | 0 | 0.053 | 0 |  | 5 | 0 | 0.6 | [5 empty] | 7p-12a | 0 | 0 | 0
TV-day | 0 | 0 | 0.053 | 0 |  | 1 | 0 | 0.6 | [5 empty] | 12p-3p | 0 | 0 | 0
TV standby | 0 | 0 | 0.007 | 0 |  | 24 | 0 | 0.6 | [5 empty] | 24 hours a day | 0 | 0 | 0
refridgerator | 0 | 0 | 0.2 | 0 |  | 0 | 0 | 0 | [5 empty] | turns on periodically | 0 | 0 | 0
radio | 0 | 0 | 0.03 | 0 |  | 0 | 0 | 0.8 | [5 empty] | 8a-6p | 0 | 0 | 0
phone charger | 0 | 1 | 0.0025 | 0.0025 | 5 | 5 | 0.0125 | 1 | [5 empty] | 8a-6p | 0 | 0 | 0
laptop | 0 | 0 | 0.015 | 0 |  | 0 | 0 | 0 | [5 empty] | 8a-6p | 0 | 0 | 0
printer | 0 | 0 | 0.05 | 0 |  | 0 | 0 | 0 | [5 empty] | 4p-12a | 0 | 0 | 0
tablet | 0 | 0 | 0.01 | 0 |  | 0 | 0 | 0 | [5 empty] | 4p-12a | 0 | 0 | 0
blender | 0 | 0 | 0.3 | 0 |  | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0
router | 0 | 0 | 0.02 | 0 |  | 0 | 0 | 0 | [5 empty] | 24 hours a day | 0 | 0 | 0
Demand growth rate | 0.01
Building amplification | 0
*Translate Potential Hours to Hours Appliance Will NOT be on
Hours Not on |  |  |  | *note: for TV and other hourly ranged items: hour 1 of the day should start at 0 (24 hours, starting from hour 0 to 23)
| Light1 | Light2 | Light3 | Tvnight | Tvday | refridgerator | radio | phone charger | laptop | printer | tablet | blender | router | sum
1 | 12 | 12 | 7 |  |  |  | 18 | 12 | 18
2 | 1 | 1 | 8 |  |  |  | 19 | 1 | 19
3 | 2 | 2 | 9 |  |  |  | 20 | 2 | 20
4 | 3 | 3 | 10 |  |  |  | 21 | 3 | 21
5 | 4 | 4 | 11 |  |  |  | 22 | 4 | 22
6 | 5 | 5 | 12 |  |  |  | 23 | 5 | 23
7 | 6 | 6 | 13 |  |  |  | 24 | 6 | 24
8 | 7 | 7 | 14 |  |  |  | 1 | 7 | 1
9 | 8 | 8 | 15 |  |  |  | 2 | 8 | 2
10 | 9 | 9 | 16 |  |  |  | 3 | 9 | 3
11 | 10 | 10 | 17 |  |  |  | 4 | 10 | 4
12 | 11 | 11 | 18 |  |  |  | 5 | 11 | 5
13 | 12 | 12 | 19 |  |  |  | 6 | 12 | 6
14 | 13 | 13 | 20 |  |  |  | 7 | 13 | 7
15 | 14 | 14 | 21 |  |  |  |  | 14
16 | 15 | 15 | 22 |  |  |  |  | 15
17 | 16 | 16 | 23 |  |  |  |  | 16
18 | 17 | [6 empty] | 17
19 | 24 | [6 empty] | 24
20
21
22
23
24
Note on E6: Yael Borofsky: what to do about standy by power?

## Customer2
Appliance | Critical (1=yes, 0=no) | Average # Owned | Power (kW) | Power * Average # owned (kW) |  | Average Daily Duration | Total Possible Daily Usage (kWh) | Probability of Ownership | Enabling Criteria |  |  | Potential Temp Range (Threshold) |  | Potential Time Range | Appliance Variability | Day-to-Day Variability | Building Amplification
Light 1 | 0 | 1 | 0.009 | 0.009 |  | 4 | 0.036 | 1 | Solar output less than | 0.05 |  |  |  | 5p-12a | 0.2 | 0.2 | 0
Light 2 | 1 | 1 | 0.009 | 0.009 |  | 4 | 0.036 | 1 | Solar output less than | 0.05 |  |  |  | 5p=12a | 0.2 | 0.2 | 0
Light 3 | 0 | 1 | 0.009 | 0.009 |  | 4 | 0.036 | 1 | Solar output less than | 0.05 |  |  |  | 12a-7a | 0.2 | 0.2 | 0
Fan | 0 |  | 0.014 | 0 |  | 3 | 0 | 1 | Temp higher than | 31 |  | Temperature greater than 29.5 | 29.5 |  | 0.2 | 0.2 | 0
TV-night | 0 | 0 | 0.053 | 0 |  | 5 | 0 | 0.6 | [5 empty] | 7p-12a | 0.2 | 0.2 | 0
TV-day | 0 | 0 | 0.053 | 0 |  | 1 | 0 | 0.6 | [5 empty] | 12p-3p | 0.2 | 0.2 | 0
TV standby | 0 | 0 | 0.007 | 0 |  | 24 | 0 | 0.6 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
refridgerator | 0 | 0 | 0.2 | 0 |  | 0 | 0 | 0 | [5 empty] | turns on periodically | 0.2 | 0.2 | 0
radio | 0 | 0 | 0.03 | 0 |  | 0 | 0 | 0.8 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
phone charger | 0 | 1 | 0.005 | 0.005 |  | 0 | 0 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
laptop | 0 | 0 | 0.015 | 0 |  | 0 | 0 | 0 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
printer | 0 | 0 | 0.05 | 0 |  | 0 | 0 | 0 | [5 empty] | 4p-12a | 0.2 | 0.2 | 0
tablet | 0 | 0 | 0.01 | 0 |  | 0 | 0 | 0 | [5 empty] | 4p-12a | 0.2 | 0.2 | 0
blender | 0 | 0 | 0.3 | 0 |  | 0 | 0 | 0 | [6 empty] | 0.2 | 0.2 | 0
router | 0 | 0 | 0.02 | 0 |  | 0 | 0 | 0 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
Demand growth rate | 0.01
Building amplification | 0
*Translate Potential Hours to Hours Appliance Will NOT be on
Hours Not on |  |  |  | *note: for TV and other hourly ranged items: hour 1 of the day should start at 0 (24 hours, starting from hour 0 to 23)
| Light1 | Light2 | Light3 | Tvnight | Tvday | refridgerator | radio | phone charger | laptop | printer | tablet | blender | router | sum
1 | 12 | 12 | 7 |  |  |  | 18 | 18 | 18
2 | 1 | 1 | 8 |  |  |  | 19 | 19 | 19
3 | 2 | 2 | 9 |  |  |  | 20 | 20 | 20
4 | 3 | 3 | 10 |  |  |  | 21 | 21 | 21
5 | 4 | 4 | 11 |  |  |  | 22 | 22 | 22
6 | 5 | 5 | 12 |  |  |  | 23 | 23 | 23
7 | 6 | 6 | 13 |  |  |  | 24 | 24 | 24
8 | 7 | 7 | 14 |  |  |  | 1 | 1 | 1
9 | 8 | 8 | 15 |  |  |  | 2 | 2 | 2
10 | 9 | 9 | 16 |  |  |  | 3 | 3 | 3
11 | 10 | 10 | 17 |  |  |  | 4 | 4 | 4
12 | 11 | 11 | 18 |  |  |  | 5 | 5 | 5
13 | 12 | 12 | 19 |  |  |  | 6 | 6 | 6
14 | 13 | 13 | 20 |  |  |  | 7 | 7 | 7
15 | 14 | 14 | 21
16 | 15 | 15 | 22
17 | 16 | 16 | 23
18
19
20
21
22
23
24
Note on E6: Yael Borofsky: what to do about standy by power?

## High School
Appliance | Critical (1=yes, 0=no) | Average # Owned | Power (kW) | Power * Average # owned (kW) |  | Average Daily Duration | Total Possible Daily Usage (kWh) | Probability of Ownership | Enabling Criteria |  |  | Potential Temp Range (Threshold) |  | Potential Time Range | Appliance Variability | Day-to-Day Variability | Building Amplification
Light 1 | 0 | 0 | 0.015 | 0 |  | 4 | 0 | 1 | Solar output less than | 0.05 |  |  |  | 5p-9p | 0.2 | 0.2 | 0
Light 2 | 1 | 80 | 0.015 | 1.2 |  | 4 | 4.8 | 1 | Solar output less than | 0.05 |  |  |  | 5p-9p | 0.2 | 0.2 | 0
Light 3 | 0 | 5 | 0.015 | 0.075 |  | 5 | 0.375 | 1 | Solar output less than | 0.05 |  |  |  | 12a-7a | 0.2 | 0.2 | 0
Fan | 0 | 0 | 0.07 | 0 |  |  | 0 | 0.4 | Temp higher than | 32.5 |  | Temperature greater than 29.5 | 29.5 |  | 0.2 | 0.2 | 0
TV-night | 0 | 1 | 0.053 | 0.053 |  | 5 | 0.265 | 0.4 | [5 empty] | 7p-12a | 0.2 | 0.2 | 0
TV-day | 0 | 1 | 0.053 | 0.053 |  | 1 | 0.053 | 0.4 | [5 empty] | 12p-3p | 0.2 | 0.2 | 0
TV standby | 0 | 1 | 0.007 | 0.007 |  | 24 | 0.168 | 0.4 | [5 empty] | turns on periodically | 0.2 | 0.2 | 0
refridgerator | 0 | 0 | 0.2 | 0 |  | 2 | 0 | 0 | [6 empty] | 0.2 | 0.2 | 0
radio | 0 | 5 | 0.03 | 0.15 |  | 3 | 0.45 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
phone charger | 0 | 10 | 0.005 | 0.05 |  | 5 | 0.25 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
laptop | 0 | 10 | 0.015 | 0.15 |  | 4 | 0.6 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
printer | 0 | 2 | 0.05 | 0.1 |  | 4 | 0.4 | 1 | [5 empty] | 4p-12a | 0.2 | 0.2 | 0
tablet | 0 | 75 | 0.01 | 0.75 |  | 5 | 3.75 | 1 | [5 empty] | 4p-12a | 0.2 | 0.2 | 0
blender | 0 | 0 | 0.3 | 0 |  | 0 | 0 | 1 | [6 empty] | 0.2 | 0.2 | 0
router | 0 | 4 | 0.02 | 0.08 |  | 24 | 1.92 | 1 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
2.668
Demand growth rate | 0.01
Building amplification | 0
*Translate Potential Hours to Hours Appliance Will NOT be on
Hours Not on |  |  |  | *note: for TV and other hourly ranged items: hour 1 of the day should start at 0 (24 hours, starting from hour 0 to 23)
| Light1 | Light2 | Light3 | Tvnight | Tvday | refridgerator | radio | phone charger | laptop | printer | tablet | blender | router
1 | 21 | 21 | 7 | 0 | 14 |  | 18 | 18 |  | 20
2 | 22 | 22 | 8 | 1 | 15 |  | 19 | 19 |  | 21
3 | 23 | 23 | 9 | 2 | 16 |  | 20 | 20 |  | 22
4 | 0 | 0 | 10 | 3 | 17 |  | 21 | 21 |  | 23
5 | 1 | 1 | 11 | 4 | 18 |  | 22 | 22 |  | 0
6 | 2 | 2 | 12 | 5 | 19 |  | 23 | 23 |  | 1
7 | 3 | 3 | 13 | 6 | 20 |  | 24 | 24 |  | 2
8 | 4 | 4 | 14 | 7 | 21 |  | 1 | 1 |  | 3
9 | 5 | 5 | 15 | 8 | 22 |  | 2 | 2 |  | 4
10 | 6 | 6 | 16 | 9 | 23 |  | 3 | 3 |  | 5
11 | 7 | 7 | 17 | 10 | 0 |  | 4 | 4
12 | 8 | 8 | 18 | 11 | 1 |  | 5 | 5
13 | 9 | 9 | 19 | 12 | 2 |  | 6 | 6
14 | 10 | 10 | 20 | 13 | 3 |  | 7 | 7
15 | 11 | 11 | 21 | 14 | 4
16 | 12 | 12 | 22 | 15 | 5
17 | 13 | 13 | 23 | 16 | 6
18 | 14 | 14 |  | 17 | 7
19 | 15 | 15 |  | 18 | 8
20 | 16 | 16 |  |  | 9
21 |  |  |  |  | 10
22
23
24
Note on E6: Yael Borofsky: what to do about standy by power?

## Primary School
Appliance | Critical (1=yes, 0=no) | Average # Owned | Power (kW) | Power * Average # owned (kW) |  | Average Daily Duration | Total Possible Daily Usage (kWh) | Probability of Ownership | Enabling Criteria |  |  | Potential Temp Range (Threshold) |  | Potential Time Range | Appliance Variability | Day-to-Day Variability | Building Amplification
Light 1 | 0 | 0 | 0.015 | 0 |  | 5 | 0 | 1 | Solar output less than | 0.05 |  |  |  | 5p-9p | 0.2 | 0.2 | 0
Light 2 | 1 | 60 | 0.015 | 0.9 |  | 5 | 4.5 | 1 | Solar output less than | 0.05 |  |  |  | 5p-9p | 0.2 | 0.2 | 0
Light 3 | 0 | 2 | 0.015 | 0.03 |  | 5 | 0.15 | 1 | Solar output less than | 0.05 |  |  |  | 12a-7a | 0.2 | 0.2 | 0
Fan | 0 | 0 | 0.07 | 0 |  |  | 0 | 0.26 | Temp higher than | 32.5 |  | Temperature greater than 29.5 | 29.5 |  | 0.2 | 0.2 | 0
TV-night | 0 | 1 | 0.053 | 0.053 |  | 5 | 0.265 | 0.4 | [5 empty] | 7p-12a | 0.2 | 0.2 | 0
TV-day | 0 | 1 | 0.053 | 0.053 |  | 1 | 0.053 | 0.4 | [5 empty] | 12p-3p | 0.2 | 0.2 | 0
TV standby | 0 | 1 | 0.007 | 0.007 |  | 24 | 0.168 | 0.4 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
refridgerator | 0 | 0 | 0.2 | 0 |  | 2 | 0 | 0 | [5 empty] | turns on periodically | 0.2 | 0.2 | 0
radio | 0 | 2 | 0.03 | 0.06 |  | 3 | 0.18 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
phone charger | 0 | 5 | 0.005 | 0.025 |  | 5 | 0.125 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
laptop | 0 | 6 | 0.015 | 0.09 |  | 4 | 0.36 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
printer | 0 | 1 | 0.05 | 0.05 |  | 4 | 0.2 | 1 | [5 empty] | 4p-12a | 0.2 | 0.2 | 0
tablet | 0 | 45 | 0.01 | 0.45 |  | 5 | 2.25 | 1 | [5 empty] | 4p-12a | 0.2 | 0.2 | 0
blender | 0 | 0 | 0.3 | 0 |  | 0 | 0 | 1 | [6 empty] | 0.2 | 0.2 | 0
router | 0 | 2 | 0.02 | 0.04 |  | 24 | 0.96 | 1 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
1.758
Demand growth rate | 0.01
Building amplification | 0
*Translate Potential Hours to Hours Appliance Will NOT be on
Hours Not on |  |  |  | *note: for TV and other hourly ranged items: hour 1 of the day should start at 0 (24 hours, starting from hour 0 to 23)
| Light1 | Light2 | Light3 | Tvnight | Tvday | NoFridgeHours | NoRadioHours | NoPhoneHours | NoLaptopHours | NoPrinterHours | NoTabletHours | NoBlenderHours | NoRouterHours
1 | 21 | 21 | 7 | 0 | 14 |  | 18 | 18 |  | 20
2 | 22 | 22 | 8 | 1 | 15 |  | 19 | 19 |  | 21
3 | 23 | 23 | 9 | 2 | 16 |  | 20 | 20 |  | 22
4 | 0 | 0 | 10 | 3 | 17 |  | 21 | 21 |  | 23
5 | 1 | 1 | 11 | 4 | 18 |  | 22 | 22 |  | 0
6 | 2 | 2 | 12 | 5 | 19 |  | 23 | 23 |  | 1
7 | 3 | 3 | 13 | 6 | 20 |  | 24 | 24 |  | 2
8 | 4 | 4 | 14 | 7 | 21 |  | 1 | 1 |  | 3
9 | 5 | 5 | 15 | 8 | 22 |  | 2 | 2 |  | 4
10 | 6 | 6 | 16 | 9 | 23 |  | 3 | 3 |  | 5
11 | 7 | 7 | 17 | 10 | 0 |  | 4 | 4
12 | 8 | 8 | 18 | 11 | 1 |  | 5 | 5
13 | 9 | 9 | 19 | 12 | 2 |  | 6 | 6
14 | 10 | 10 | 20 | 13 | 3 |  | 7 | 7
15 | 11 | 11 | 21 | 14 | 4
16 | 12 | 12 | 22 | 15 | 5
17 | 13 | 13 | 23 | 16 | 6
18 | 14 | 14 |  | 17 | 7
19 | 15 | 15 |  | 18 | 8
20 | 16 | 16 |  |  | 9
21 |  |  |  |  | 10
22
23
24
Note on E6: Yael Borofsky: what to do about standy by power?

## Coop
Appliance | Critical (1=yes, 0=no) | Average # Owned | Power (kW) | Power * Average # owned (kW) |  | Average Daily Duration | Total Possible Daily Usage (kWh) | Probability of Ownership | Enabling Criteria |  |  | Potential Temp Range (Threshold) |  | Potential Time Range (for personal notes) | Appliance Variability | Day-to-Day Variability | Building Amplification
Light 1 | 0 | 0 | 0.015 | 0 |  | 5 | 0 | 1 | Solar output less than | 0.05 |  |  |  | 5p-12a | 0.2 | 0.2 | 0
Light 2 | 1 | 2 | 0.015 | 0.03 |  | 5 | 0.15 | 1 | Solar output less than | 0.05 |  |  |  | 5p=12a | 0.2 | 0.2 | 0
Light 3 | 0 | 0 | 0.015 | 0 |  | 5 | 0 | 1 | Solar output less than | 0.05 |  |  |  | 12a-7a | 0.2 | 0.2 | 0
Fan | 0 | 2 | 0.07 | 0.14 |  |  | 0 | 0.4 | Temp higher than | 32.5 |  | Temperature greater than 29.5 | 29.5 |  | 0.2 | 0.2 | 0
TV-night | 0 | 1 | 0.053 | 0.053 |  | 5 | 0.265 | 0.5 | [5 empty] | 7p-12a | 0.2 | 0.2 | 0
TV-day | 0 | 1 | 0.053 | 0.053 |  | 1 | 0.053 | 0.5 | [5 empty] | 12p-3p | 0.2 | 0.2 | 0
TV standby | 0 | 1 | 0.007 | 0.007 |  | 24 | 0.168 | 0.5 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
refridgerator | 1 | 0 | 0.35 | 0 |  | 24 | 0 | 0.3 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
radio | 0 | 1 | 0.03 | 0.03 |  | 3 | 0.09 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
phone charger | 0 | 20 | 0.005 | 0.1 |  | 5 | 0.5 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
laptop | 0 | 0 | 0.015 | 0 |  | 4 | 0 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
printer | 0 | 0 | 0.05 | 0 |  | 4 | 0 | 1 | [5 empty] | 4p-12a | 0.2 | 0.2 | 0
tablet | 0 | 0 | 0.01 | 0 |  | 5 | 0 | 1 | [5 empty] | 4p-12a | 0.2 | 0.2 | 0
blender | 0 | 0 | 0.3 | 0 |  | 0 | 0 | 1 | [6 empty] | 0.2 | 0.2 | 0
router | 0 | 0 | 0.02 | 0 |  | 24 | 0 | 1 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
Demand growth rate | 0.01
Building amplification | 0
*Translate Potential Hours to Hours Appliance Will NOT be on
Hours Not on |  |  |  | *note: for TV and other hourly ranged items: hour 1 of the day should start at 0 (24 hours, starting from hour 0 to 23)
| Light1 | Light2 | Light3 | Tvnight | Tvday | refridgerator | radio | phone charger | laptop | printer | tablet | blender | router
1 | 12 | 12 | 7 | 0 | 14 | 4 | 18 | 18 | 18 |  | 0
2 | 1 | 1 | 8 | 1 | 15 | 8 | 19 | 19 | 19 |  | 1
3 | 2 | 2 | 9 | 2 | 16 | 12 | 20 | 20 | 20 |  | 2
4 | 3 | 3 | 10 | 3 | 17 | 16 | 21 | 21 | 21 |  | 3
5 | 4 | 4 | 11 | 4 | 18 | 20 | 22 | 22 | 22 |  | 4
6 | 5 | 5 | 12 | 5 | 19 | 24 | 23 | 23 | 23 |  | 5
7 | 6 | 6 | 13 | 6 | 20 |  | 24 | 24 | 24 |  | 6
8 | 7 | 7 | 14 | 7 | 21 |  | 1 | 1 | 1 |  | 7
9 | 8 | 8 | 15 | 8 | 22 |  | 2 | 2 | 2 |  | 8
10 | 9 | 9 | 16 | 9 | 23 |  | 3 | 3 | 3 |  | 9
11 | 10 | 10 | 17 | 10 | 0 |  | 4 | 4 | 4 |  | 10
12 | 11 | 11 | 18 | 11 | 1 |  | 5 | 5 | 5 |  | 11
13 | 12 | 12 | 19 | 12 | 2 |  | 6 | 6 | 6 |  | 12
14 | 13 | 13 | 20 | 13 | 3 |  | 7 | 7 | 7 |  | 13
15 | 14 | 14 | 21 | 14 | 4 | [5 empty] | 14
16 | 15 | 15 | 22 | 15 | 5
17 | 16 | 16 | 23 | 16 | 6
18 |  |  |  | 17 | 7
19 |  |  |  | 18 | 8
20 |  |  |  |  | 9
21 |  |  |  |  | 10
22
23
24
Note on E6: Yael Borofsky: what to do about standy by power?

## Bank
Appliance | Critical (1=yes, 0=no) | Average # Owned | Power (kW) | Power * Average # owned (kW) |  | Average Daily Duration | Total Possible Daily Usage (kWh) | Probability of Ownership | Enabling Criteria |  |  | Potential Temp Range (Threshold) |  | Potential Time Range | Appliance Variability | Day-to-Day Variability | Building Amplification
Light 1 | 0 | 0 | 0.015 | 0 |  | 5 | 0 | 1 | Solar output less than | 0.05 |  |  |  | 5p-12a | 0.2 | 0.2 | 0
Light 2 | 1 | 11 | 0.015 | 0.165 |  | 5 | 0.825 | 1 | Solar output less than | 0.05 |  |  |  | 5p=12a | 0.2 | 0.2 | 0
Light 3 | 0 | 2 | 0.015 | 0.03 |  | 5 | 0.15 | 1 | Solar output less than | 0.05 |  |  |  | 12a-7a | 0.2 | 0.2 | 0
Fan | 0 | 2 | 0.07 | 0.14 |  |  | 0 | 0.5 | Temp higher than | 32.5 |  | Temperature greater than 29.5 | 29.5 |  | 0.2 | 0.2 | 0
TV-night | 0 | 0 | 0.053 | 0 |  | 5 | 0 | 0.26 | [5 empty] | 7p-12a | 0.2 | 0.2 | 0
TV-day | 0 | 0 | 0.053 | 0 |  | 1 | 0 | 0.26 | [5 empty] | 12p-3p | 0.2 | 0.2 | 0
TV standby | 0 | 0 | 0.007 | 0 |  | 24 | 0 | 0.26 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
refridgerator | 1 | 0 | 0.2 | 0 |  | 24 | 0 | 0.3 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
radio | 0 | 0 | 0.03 | 0 |  | 3 | 0 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
phone charger | 0 | 5 | 0.005 | 0.025 |  | 5 | 0.125 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
laptop | 1 | 10 | 0.015 | 0.15 |  | 4 | 0.6 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
printer | 0 | 1 | 0.05 | 0.05 |  | 4 | 0.2 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
tablet | 0 | 0 | 0.01 | 0 |  | 5 | 0 | 1 | [5 empty] | 4p-12a | 0.2 | 0.2 | 0
blender | 0 | 0 | 0.3 | 0 |  | 0 | 0 | 1 | [6 empty] | 0.2 | 0.2 | 0
router | 1 | 1 | 0.02 | 0.02 |  | 24 | 0.48 | 1 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
Demand growth rate | 0.01
Building amplification | 0
*Translate Potential Hours to Hours Appliance Will NOT be on
Hours Not on |  |  |  | *note: for TV and other hourly ranged items: hour 1 of the day should start at 0 (24 hours, starting from hour 0 to 23)
| Light1 | Light2 | Light3 | Tvnight | Tvday | refridgerator | radio | phone charger | laptop | printer | tablet | blender | router
1 | 12 | 12 | 7 |  |  |  | 18 | 18 |  | 18 | 0
2 | 1 | 1 | 8 |  |  |  | 19 | 19 |  | 19 | 1
3 | 2 | 2 | 9 |  |  |  | 20 | 20 |  | 20 | 2
4 | 3 | 3 | 10 |  |  |  | 21 | 21 |  | 21 | 3
5 | 4 | 4 | 11 |  |  |  | 22 | 22 |  | 22 | 4
6 | 5 | 5 | 12 |  |  |  | 23 | 23 |  | 23 | 5
7 | 6 | 6 | 13 |  |  |  | 24 | 24 |  | 24 | 6
8 | 7 | 7 | 14 |  |  |  | 1 | 1 |  | 1 | 7
9 | 8 | 8 | 15 |  |  |  | 2 | 2 |  | 2 | 8
10 | 9 | 9 | 16 |  |  |  | 3 | 3 |  | 3 | 9
11 | 10 | 10 | 17 |  |  |  | 4 | 4 |  | 4 | 10
12 | 11 | 11 | 18 |  |  |  | 5 | 5 |  | 5 | 11
13 | 12 | 12 | 19 |  |  |  | 6 | 6 |  | 6 | 12
14 | 13 | 13 | 20 |  |  |  | 7 | 7 |  | 7 | 13
15 | 14 | 14 | 21 | [7 empty] | 14
16 | 15 | 15 | 22
17 | 16 | 16 | 23
18
19
20
21
22
23
24
Note on E6: Yael Borofsky: what to do about standy by power?

## Hospital
Appliance | Critical (1=yes, 0=no) | Average # Owned | Power (kW) | Power * Average # owned (kW) |  | Average Daily Duration | Total Possible Daily Usage (kWh) | Probability of Ownership | Enabling Criteria |  |  | Potential Temp Range (Threshold) |  | Potential Time Range | Appliance Variability | Day-to-Day Variability | Building Amplification
Light 1 | 0 | 0 | 0.015 | 0 |  | 5 | 0 | 1 | Solar output less than | 0.05 |  |  |  | 5p-12a | 0.2 | 0.2 | 0
Light 2 | 1 | 30 | 0.015 | 0.45 |  | 5 | 2.25 | 1 | Solar output less than | 0.05 |  |  |  | 5p=12a | 0.2 | 0.2 | 0
Light 3 | 0 | 5 | 0.015 | 0.075 |  | 5 | 0.375 | 1 | Solar output less than | 0.05 |  |  |  | 12a-7a | 0.2 | 0.2 | 0
Fan | 0 | 20 | 0.07 | 1.4 |  |  | 0 | 0.4 | Temp higher than | 32.5 |  | Temperature greater than 29.5 | 29.5 |  | 0.2 | 0.2 | 0
TV-night | 0 | 2 | 0.053 | 0.106 |  | 5 | 0.53 | 0.5 | [5 empty] | 7p-12a | 0.2 | 0.2 | 0
TV-day | 0 | 2 | 0.053 | 0.106 |  | 1 | 0.106 | 0.5 | [5 empty] | 12p-3p | 0.2 | 0.2 | 0
TV standby | 0 | 2 | 0.007 | 0.014 |  | 24 | 0.336 | 0.5 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
refridgerator | 1 | 5 | 0.35 | 1.75 |  | 4 | 7 | 1 | [5 empty] | 0n 1/6 of time | 0.2 | 0.2 | 0
radio | 0 | 5 | 0.03 | 0.15 |  | 3 | 0.45 | 1 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
phone charger | 0 | 10 | 0.005 | 0.05 |  | 5 | 0.25 | 1 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
laptop | 0 | 10 | 0.015 | 0.15 |  | 4 | 0.6 | 1 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
printer | 0 | 1 | 0.05 | 0.05 |  | 4 | 0.2 | 1 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
tablet | 0 | 0 | 0.01 | 0 |  | 5 | 0 | 1 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
blender | 0 | 0 | 0.3 | 0 |  | 0 | 0 | 1 | [6 empty] | 0.2 | 0.2 | 0
router | 0 | 1 | 0.02 | 0.02 |  | 24 | 0.48 | 1 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
4.321
Demand growth rate | 0.01 |  |  |  |  | 0.0625
Building amplification | 0
*Translate Potential Hours to Hours Appliance Will NOT be on
Hours Not on |  |  |  | *note: for TV and other hourly ranged items: hour 1 of the day should start at 0 (24 hours, starting from hour 0 to 23)
| Light1 | Light2 | Light3 | Tvnight | Tvday | refridgerator | radio | phone charger | laptop | printer | tablet | blender | router
1 | 12 | 12 | 7 |  |  | 4
2 | 1 | 1 | 8 |  |  | 8
3 | 2 | 2 | 9 |  |  | 12
4 | 3 | 3 | 10 |  |  | 16
5 | 4 | 4 | 11 |  |  | 20
6 | 5 | 5 | 12 |  |  | 24
7 | 6 | 6 | 13
8 | 7 | 7 | 14
9 | 8 | 8 | 15
10 | 9 | 9 | 16
11 | 10 | 10 | 17
12 | 11 | 11 | 18
13 | 12 | 12 | 19
14 | 13 | 13 | 20
15 | 14 | 14 | 21
16 | 15 | 15 | 22
17 | 16 | 16 | 23
18
19
20
21
22
23
24
Note on E6: Yael Borofsky: what to do about standy by power?

## Government
Appliance | Critical (1=yes, 0=no) | Average # Owned | Power (kW) | Power * Average # owned (kW) |  | Average Daily Duration | Total Possible Daily Usage (kWh) | Probability of Ownership | Enabling Criteria |  |  | Potential Temp Range (Threshold) |  | Potential Time Range | Appliance Variability | Day-to-Day Variability | Building Amplification
Light 1 | 0 | 0 | 0.015 | 0 |  | 5 | 0 | 1 | Solar output less than | 0.05 |  |  |  | 5p-12a | 0.2 | 0.2 | 0
Light 2 | 1 | 42 | 0.015 | 0.63 |  | 5 | 3.15 | 1 | Solar output less than | 0.05 |  |  |  | 5p=12a | 0.2 | 0.2 | 0
Light 3 | 0 | 5 | 0.015 | 0.075 |  | 5 | 0.375 | 1 | Solar output less than | 0.05 |  |  |  | 12a-7a | 0.2 | 0.2 | 0
Fan | 0 | 5 | 0.07 | 0.35 |  |  | 0 | 0.26 | Temp higher than | 32.5 |  | Temperature greater than 29.5 | 29.5 |  | 0.2 | 0.2 | 0
TV-night | 0 | 0 | 0.053 | 0 |  | 5 | 0 | 0.26 | [5 empty] | 7p-12a | 0.2 | 0.2 | 0
TV-day | 0 | 0 | 0.053 | 0 |  | 1 | 0 | 0.26 | [5 empty] | 12p-3p | 0.2 | 0.2 | 0
TV standby | 0 | 0 | 0.007 | 0 |  | 24 | 0 | 0.26 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
refridgerator | 0 | 0 | 0.2 | 0 |  | 24 | 0 | 0.3 | [5 empty] | turns on periodically | 0.2 | 0.2 | 0
radio | 0 | 0 | 0.03 | 0 |  | 3 | 0 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
phone charger | 0 | 10 | 0.005 | 0.05 |  | 5 | 0.25 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
laptop | 0 | 5 | 0.015 | 0.075 |  | 4 | 0.3 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
printer | 0 | 3 | 0.05 | 0.15 |  | 4 | 0.6 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
tablet | 0 | 0 | 0.01 | 0 |  | 5 | 0 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
blender | 0 | 0 | 0.3 | 0 |  | 0 | 0 | 1 | [6 empty] | 0.2 | 0.2 | 0
router | 0 | 2 | 0.02 | 0.04 |  | 24 | 0.96 | 1 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
Demand growth rate | 0.01
Building amplification | 0
*Translate Potential Hours to Hours Appliance Will NOT be on
Hours Not on |  |  |  | *note: for TV and other hourly ranged items: hour 1 of the day should start at 0 (24 hours, starting from hour 0 to 23)
| Light1 | Light2 | Light3 | Tvnight | Tvday | refridgerator | radio | phone charger | laptop | printer | tablet | blender | router
1 | 12 | 12 | 7 | 0 | 14 | 0 | 18 | 18 | 18 | 18 | 18
2 | 1 | 1 | 8 | 1 | 15 | 1 | 19 | 19 | 19 | 19 | 19
3 | 2 | 2 | 9 | 2 | 16 | 4 | 20 | 20 | 20 | 20 | 20
4 | 3 | 3 | 10 | 3 | 17 | 5 | 21 | 21 | 21 | 21 | 21
5 | 4 | 4 | 11 | 4 | 18 | 8 | 22 | 22 | 22 | 22 | 22
6 | 5 | 5 | 12 | 5 | 19 | 9 | 23 | 23 | 23 | 23 | 23
7 | 6 | 6 | 13 | 6 | 20 | 11 | 24 | 24 | 24 | 24 | 24
8 | 7 | 7 | 14 | 7 | 21 | 15 | 1 | 1 | 1 | 1 | 1
9 | 8 | 8 | 15 | 8 | 22 | 16 | 2 | 2 | 2 | 2 | 2
10 | 9 | 9 | 16 | 9 | 23 | 20 | 3 | 3 | 3 | 3 | 3
11 | 10 | 10 | 17 | 10 | 0 | 21 | 4 | 4 | 4 | 4 | 4
12 | 11 | 11 | 18 | 11 | 1 | 23 | 5 | 5 | 5 | 5 | 5
13 | 12 | 12 | 19 | 12 | 2 |  | 6 | 6 | 6 | 6 | 6
14 | 13 | 13 | 20 | 13 | 3 |  | 7 | 7 | 7 | 7 | 7
15 | 14 | 14 | 21 | 14 | 4
16 | 15 | 15 | 22 | 15 | 5
17 | 16 | 16 | 23 | 16 | 6
18 |  |  |  | 17 | 7
19 |  |  |  | 18 | 8
20 |  |  |  |  | 9
21 |  |  |  |  | 10
22
23
24
Note on E6: Yael Borofsky: what to do about standy by power?

## Church
Appliance | Critical (1=yes, 0=no) | Average # Owned | Power (kW) | Power * Average # owned (kW) |  | Average Daily Duration | Total Possible Daily Usage (kWh) | Probability of Ownership | Enabling Criteria |  |  | Potential Temp Range (Threshold) |  | Potential Time Range | Appliance Variability | Day-to-Day Variability | Building Amplification
Light 1 | 0 | 0 | 0.015 | 0 |  | 5 | 0 | 1 | Solar output less than | 0.05 |  |  |  | 5p-12a | 0.2 | 0.2 | 0
Light 2 | 1 | 15 | 0.015 | 0.225 |  | 5 | 1.125 | 1 | Solar output less than | 0.05 |  |  |  | 5p=12a | 0.2 | 0.2 | 0
Light 3 | 0 | 5 | 0.015 | 0.075 |  | 5 | 0.375 | 1 | Solar output less than | 0.05 |  |  |  | 12a-7a | 0.2 | 0.2 | 0
Fan | 0 | 3 | 0.07 | 0.21 |  |  | 0 | 0.26 | Temp higher than | 32.5 |  | Temperature greater than 29.5 | 29.5 |  | 0.2 | 0.2 | 0
TV-night | 0 | 1 | 0.053 | 0.053 |  | 5 | 0.265 | 1 | [5 empty] | 7p-12a | 0.2 | 0.2 | 0
TV-day | 0 | 1 | 0.053 | 0.053 |  | 1 | 0.053 | 1 | [5 empty] | 12p-3p | 0.2 | 0.2 | 0
TV standby | 0 | 1 | 0.007 | 0.007 |  | 24 | 0.168 | 1 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
refridgerator | 0 | 0 | 0.2 | 0 |  | 24 | 0 | 0.3 | [5 empty] | turns on periodically | 0.2 | 0.2 | 0
radio | 0 | 1 | 0.03 | 0.03 |  | 3 | 0.09 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
phone charger | 0 | 2 | 0.005 | 0.01 |  | 5 | 0.05 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
laptop | 0 | 0 | 0.015 | 0 |  | 4 | 0 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
printer | 0 | 0 | 0.05 | 0 |  | 4 | 0 | 1 | [5 empty] | 4p-12a | 0.2 | 0.2 | 0
tablet | 0 | 0 | 0.01 | 0 |  | 5 | 0 | 1 | [5 empty] | 4p-12a | 0.2 | 0.2 | 0
blender | 0 | 0 | 0.3 | 0 |  | 0 | 0 | 1 | [6 empty] | 0.2 | 0.2 | 0
router | 0 | 0 | 0.02 | 0 |  | 24 | 0 | 1 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
Demand growth rate | 0.01
Building amplification | 0
*Translate Potential Hours to Hours Appliance Will NOT be on
Hours Not on |  |  |  | *note: for TV and other hourly ranged items: hour 1 of the day should start at 0 (24 hours, starting from hour 0 to 23)
| Light1 | Light2 | Light3 | Tvnight | Tvday | refridgerator | radio | phone charger | laptop | printer | tablet | blender | router
1 | 12 | 12 | 7 | 0 | 14 | 0 | 18 | 18 | 18 | 0 | 0 |  | 0
2 | 1 | 1 | 8 | 1 | 15 | 1 | 19 | 19 | 19 | 1 | 1 |  | 1
3 | 2 | 2 | 9 | 2 | 16 | 4 | 20 | 20 | 20 | 2 | 2 |  | 2
4 | 3 | 3 | 10 | 3 | 17 | 5 | 21 | 21 | 21 | 3 | 3 |  | 3
5 | 4 | 4 | 11 | 4 | 18 | 8 | 22 | 22 | 22 | 4 | 4 |  | 4
6 | 5 | 5 | 12 | 5 | 19 | 9 | 23 | 23 | 23 | 5 | 5 |  | 5
7 | 6 | 6 | 13 | 6 | 20 | 11 | 24 | 24 | 24 | 6 | 6 |  | 6
8 | 7 | 7 | 14 | 7 | 21 | 15 | 1 | 1 | 1 | 7 | 7 |  | 7
9 | 8 | 8 | 15 | 8 | 22 | 16 | 2 | 2 | 2 | 8 | 8 |  | 8
10 | 9 | 9 | 16 | 9 | 23 | 20 | 3 | 3 | 3 | 9 | 9 |  | 9
11 | 10 | 10 | 17 | 10 | 0 | 21 | 4 | 4 | 4 | 10 | 10 |  | 10
12 | 11 | 11 | 18 | 11 | 1 | 23 | 5 | 5 | 5 | 11 | 11 |  | 11
13 | 12 | 12 | 19 | 12 | 2 |  | 6 | 6 | 6 | 12 | 12 |  | 12
14 | 13 | 13 | 20 | 13 | 3 |  | 7 | 7 | 7 | 13 | 13 |  | 13
15 | 14 | 14 | 21 | 14 | 4 |  |  |  |  | 14 | 14 |  | 14
16 | 15 | 15 | 22 | 15 | 5 | [7 empty] | 15
17 | 16 | 16 | 23 | 16 | 6 | [7 empty] | 16
18 |  |  |  | 17 | 7 | [7 empty] | 17
19 |  |  |  | 18 | 8 | [7 empty] | 18
20 |  |  |  |  | 9 | [7 empty] | 19
21 |  |  |  |  | 10 | [7 empty] | 20
22 | [12 empty] | 21
23 | [12 empty] | 22
24 | [12 empty] | 23
Note on E6: Yael Borofsky: what to do about standy by power?

## Shops
Appliance | Critical (1=yes, 0=no) | Average # Owned | Power (kW) | Power * Average # owned (kW) |  | Average Daily Duration | Total Possible Daily Usage (kWh) | Probability of Ownership | Enabling Criteria |  |  | Potential Temp Range (Threshold) |  | Potential Time Range | Appliance Variability | Day-to-Day Variability | Building Amplification
Light 1 | 0 | 0 | 0.015 | 0 |  | 5 | 0 | 1 | Solar output less than | 0.05 |  |  |  | 5p-12a | 0.2 | 0.2 | 0
Light 2 | 1 | 3 | 0.015 | 0.045 |  | 5 | 0.225 | 1 | Solar output less than | 0.05 |  |  |  | 5p=12a | 0.2 | 0.2 | 0
Light 3 | 0 | 1 | 0.015 | 0.015 |  | 5 | 0.075 | 1 | Solar output less than | 0.05 |  |  |  | 12a-7a | 0.2 | 0.2 | 0
Fan | 0 | 3 | 0.07 | 0.21 |  |  | 0 | 0.26 | Temp higher than | 32.5 |  | Temperature greater than 29.5 | 29.5 |  | 0.2 | 0.2 | 0
TV-night | 0 | 1 | 0.053 | 0.053 |  | 5 | 0.265 | 0.26 | [5 empty] | 7p-12a | 0.2 | 0.2 | 0
TV-day | 0 | 1 | 0.053 | 0.053 |  | 1 | 0.053 | 0.26 | [5 empty] | 12p-3p | 0.2 | 0.2 | 0
TV standby | 0 | 1 | 0.007 | 0.007 |  | 24 | 0.168 | 0.26 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
refridgerator | 1 | 1 | 0.2 | 0.2 |  | 24 | 4.8 | 0.75 | [5 empty] | turns on periodically | 0.2 | 0.2 | 0
radio | 0 | 2 | 0.03 | 0.06 |  | 3 | 0.18 | 0.8 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
phone charger | 0 | 2 | 0.005 | 0.01 |  | 5 | 0.05 | 0.5 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
laptop | 0 | 0 | 0.015 | 0 |  | 4 | 0 | 1 | [5 empty] | 8a-6p | 0.2 | 0.2 | 0
printer | 0 | 0 | 0.05 | 0 |  | 4 | 0 | 1 | [5 empty] | 4p-12a | 0.2 | 0.2 | 0
tablet | 0 | 0 | 0.01 | 0 |  | 5 | 0 | 1 | [5 empty] | 4p-12a | 0.2 | 0.2 | 0
blender | 0 | 0 | 0.3 | 0 |  | 0 | 0 | 1 | [6 empty] | 0.2 | 0.2 | 0
router | 0 | 0 | 0.02 | 0 |  | 24 | 0 | 1 | [5 empty] | 24 hours a day | 0.2 | 0.2 | 0
Demand growth rate | 0.01
Building amplification | 0
*Translate Potential Hours to Hours Appliance Will NOT be on
Hours Not on |  |  |  | *note: for TV and other hourly ranged items: hour 1 of the day should start at 0 (24 hours, starting from hour 0 to 23)
| Light1 | Light2 | Light3 | Tvnight | Tvday | refridgerator | radio | phone charger | laptop | printer | tablet | blender | router
1 | 12 | 12 | 7 | 0 | 14 | 0 | 18 | 18 | 18 | 0 | 0 |  | 0
2 | 1 | 1 | 8 | 1 | 15 | 1 | 19 | 19 | 19 | 1 | 1 |  | 1
3 | 2 | 2 | 9 | 2 | 16 | 4 | 20 | 20 | 20 | 2 | 2 |  | 2
4 | 3 | 3 | 10 | 3 | 17 | 5 | 21 | 21 | 21 | 3 | 3 |  | 3
5 | 4 | 4 | 11 | 4 | 18 | 8 | 22 | 22 | 22 | 4 | 4 |  | 4
6 | 5 | 5 | 12 | 5 | 19 | 9 | 23 | 23 | 23 | 5 | 5 |  | 5
7 | 6 | 6 | 13 | 6 | 20 | 11 | 24 | 24 | 24 | 6 | 6 |  | 6
8 | 7 | 7 | 14 | 7 | 21 | 15 | 1 | 1 | 1 | 7 | 7 |  | 7
9 | 8 | 8 | 15 | 8 | 22 | 16 | 2 | 2 | 2 | 8 | 8 |  | 8
10 | 9 | 9 | 16 | 9 | 23 | 20 | 3 | 3 | 3 | 9 | 9 |  | 9
11 | 10 | 10 | 17 | 10 | 0 | 21 | 4 | 4 | 4 | 10 | 10 |  | 10
12 | 11 | 11 | 18 | 11 | 1 | 23 | 5 | 5 | 5 | 11 | 11 |  | 11
13 | 12 | 12 | 19 | 12 | 2 |  | 6 | 6 | 6 | 12 | 12 |  | 12
14 | 13 | 13 | 20 | 13 | 3 |  | 7 | 7 | 7 | 13 | 13 |  | 13
15 | 14 | 14 | 21 | 14 | 4 |  |  |  |  | 14 | 14 |  | 14
16 | 15 | 15 | 22 | 15 | 5 | [7 empty] | 15
17 | 16 | 16 | 23 | 16 | 6 | [7 empty] | 16
18 |  |  |  | 17 | 7 | [7 empty] | 17
19 |  |  |  | 18 | 8 | [7 empty] | 18
20 |  |  |  |  | 9 | [7 empty] | 19
21 |  |  |  |  | 10 | [7 empty] | 20
22 | [12 empty] | 21
23 | [12 empty] | 22
24 | [12 empty] | 23
Note on E6: Yael Borofsky: what to do about standy by power?